Tax Year: July 31 2016- Aug 1 2017

Stethoscope

Section B – Project descriptions
242. What scientific or technological uncertainties did you attempt to overcome? (Maximum 350 words)
The modern acoustic stethoscope is a useful clinical tool used to detect subtle, pathological changes in cardiac, pulmonary and vascular sounds. Brand-name commercially available stethoscopes typically cost several hundred US dollars. Consequently, the cost of high quality, brand name models serves as a barrier to clinicians practicing in various settings, especially in low- and middle-income countries.
It was uncertain if the construction and validation of a low cost acoustic stethoscope that performs as well as the gold standard acoustic stethoscope (Littman Cardiology III) was possible. The aim of this research project is to give low budget health care systems affordable access to an effective, rigorously tested stethoscope costing less than $5 USD and to release this stethoscope as Free/open access hardware to remove barriers to access.
No low cost stethoscopes are commercially available. Although 3D printed stethoscope models that would be low-cost to produce can be found online[5–15], we are not aware of any that have been used clinically or research-validated.

244. What work did you perform in the tax year to overcome the scientific or technological uncertainties described in line 242?
(Summarize the systematic investigation or search) (Maximum 700 words)
The hypothesis of this project is that a novel, low-cost acoustic stethoscope (the ‘Glia’ model) could be designed, constructed and validated to demonstrate acoustic performance that is non-inferior to the gold standard acoustic stethoscope (Littman Cardiology III).

In this section, we will discuss the work that was done in this tax year on the design, construction and validation of a low-cost stethoscope.

Testing of different stethoscope prototypes and materials testing was conducted to compare functional and acoustic qualities for the purposes of determining the final stethoscope design.
The quality and intensity of the sound reaching the earpiece from the diaphragm is dependent on nearly every piece of the stethoscope as well as the physiology of the user including anatomical variations in the shape of human ear canals. These variables have been previously summarized[3] and include the size and volume of the bell[18,41]; hardness of the inner cavity of the bell[42]; improperly fitted components allowing air leaks and loss of sound[41]; the thickness, size and tautness of the diaphragm and the interior smoothness, rigidity, length and diameter of the tubing[43,44]. Additional user related factors include improperly fitted ear pieces that allow air exchange[4,41,44,45]; anatomical variations of the auditory canal of the user[45]; background noise[46] and training[47]. Variables affecting the quality of a stethoscope’s acoustic performance that have been previously outlined in the literature were used as a starting point on which to base the prototypical stethoscope design. The design of a low-cost, openly accessible stethoscope, necessitated the inclusion of low-cost and widely available materials which are not typically included in standard commercially available stethoscopes. Thus, using plastic and 3D printing as an alternative to metal components was essential.

Accordingly, materials testing was undertaken to determine which materials had sufficient acoustic performance and were acceptable to be used in the Glia model stethoscope. Materials testing included several printing materials including poly-lactic acid (PLA) and ABS. Other accessory hardware required, including plastic diaphragms, tubing and ear buds, were tested and evaluated with the aim of identifying parts that had sufficient functionality.
Various physical properties were also tested such as channel diameter through the 3D printed parts and infill percentage, which ultimately determines the density and hardness of the parts. Different versions of the stethoscope spring were designed and tested with the intention of identifying a spring which would improve upon the functionality and comfort of the original stethoscope design. Of particular challenge was creating the interface between the ear tube and the spring to prevent rotation when the ear tubes were pulled apart. Various prototypes of the stethoscope spring design were tested for their mechanical properties and the most functional spring was selected to be incorporated into an updated version of the stethoscope design.
Based on the results of all the aforementioned testing the design of the stethoscope was updated from the original prototype.

Additionally, field testing was conducted using the stethoscope in the emergency rooms of Victoria Hospital and University Hospital. The stethoscope was tested for quality assurance and to determine ease of use by varied clinicians.

 A non-profit company was incorporated to manufacture stethoscopes and has received a Medical Device Establishment Licence was submitted to Health Canada to permit the manufacture and distribution of the stethoscope (a class I device). A Health Canada compliant mass-manufacturing process was established and implemented that allows for production, serial numbering and quality assurance of stethoscopes, including developing a supply-chain that can provide raw materials (ear buds, silicone tubes) both in the developing world and in Canada..

A publication was prepared and submitted to disseminate the findings of this project. The bill of materials, construction methodology and validation methods were included herein, for the purposes of enabling others to validate our design independently with ease. Instructions for assembly were produced and published through a Free and open source license.

High level summary:

- prototype reiteration
- field testing (quality assurance, ease of use)
- materials testing
- lab preparation **
- Health Canada Approval application
- publication
- creation of manufacturing process***
- assembly instruction

246 What scientific or technological advancements did you achieve or attempt to achieve as a result of the work described in line 244? (Maximum 350 words)

The technological advancement achieved by this project is confirmation that a novel, low-cost acoustic stethoscope (the ‘Glia’ model) could be designed, constructed and validated to demonstrate acoustic performance that is non-inferior to the gold standard acoustic stethoscope (Littman Cardiology III). Materials testing and field testing of various prototypical stethoscopes allowed for the development of the final ‘Glia’ model stethoscope design. This design has been rigorously tested and works on par or above the industry gold standard model. The work on this project has been published under an Open Hardware License and has been approved by Health Canada.

Pulse Oximeter

Section B – Project descriptions
242. What scientific or technological uncertainties did you attempt to overcome? (Maximum 350 words)

Pulse oximetry is a vital tool in the rapid and non-invasive assessment of emergency department patients, providing a continuous estimate of hemoglobin saturation in arterial blood. Unfortunately, the costs of commercially-available pulse oximetry extended devices are prohibitive and reduce availability in smaller centres and developing countries, putting millions of patients in danger of easily treatable and preventable conditions. Pulse oximetry increases patient safety by alerting physicians to hypoxemia during anesthesia1,2, pneumonia3,4 and acute respiratory distress syndrome5.

The technologies involved in the manufacture of a pulse oximeter are widely known and have no active patents covering them. Despite this, no high-quality device exists whose design and construction are both research-validated and open to the public for study, production and dissemination. It is uncertain if it is possible to create a very inexpensive pulse oximeter that meets or exceeds the performance of the current gold standard device. Currently, low and middle income countries are in need of an estimated one million pulse oximeters6, with only 41-70% of operating environments having access to a pulse oximeter in developing nations compared with 100% in developed nations7.

The aim of this project is to design, calibrate and validate a low-cost, open-access pulse oximeter. The pulse oximeter, known as the ‘Glia’ pulse oximeter, will be designed with the objective of building a Health Canada approved pulse oximeter that meets USA Food and Drug Administration (FDA) 501(k) standards. If development of the low-cost pulse oximeter is successful, the hardware design and software will be published under an open-access licence allowing physicians around the world to access the pulse oximeter device for use in their clinic or operating room.

244. What work did you perform in the tax year to overcome the scientific or technological uncertainties described in line 242?
(Summarize the systematic investigation or search) (Maximum 700 words)

The hypothesis of this project is that a novel, low-cost pulse oximeter (the ‘Glia’ model) can be designed, constructed and validated to demonstrate performance that is non-inferior to the gold standard device.

In this section, we will discuss the work that was done in this tax year on the design, construction and validation of a low-cost pulse oximeter.

Prototype development was done in collaboration with an engineering team. Various pulse oximetry components including the finger probe, digital display and oxygen saturation equation were developed according to clinical and technical requirements.

Publicly available literature regarding pulse oximeter calibration and validation was reviewed along with industry-standard requirements for pulse oximeters (i.e., FDA 501(k) and ISO/IEC international standards). An experimental protocol to test the validity of the pulse oximeter in both laboratory (i.e., non-human testing) and clinical (i.e., human testing) settings was developed.

High level summary:

- prototype collaboration with engineering team, including clinical specifications & technical specifications
- prototype reiteration

246 What scientific or technological advancements did you achieve or attempt to achieve as a result of the work described in line 244? (Maximum 350 words)

The technological advancement achieved by this project is the development of a preliminary prototype of a low-cost pulse oximeter. Multiple improvements to the pulse oximetry saturation equation were made based on preliminary clinical testing. There is currently no publicly available software for determining arterial blood oxygen saturation with a pulse oximeter. Through trial and error, we were able to develop software that gives reliable and consistent arterial blood oxygen saturation readings.

ECG Device

Section B – Project descriptions
242. What scientific or technological uncertainties did you attempt to overcome? (Maximum 350 words)

The electrocardiograph is a device that is the standard of care in the developed world for detecting cardiac pathologies such as arrhythmias, ischemia, and hypertrophy with high sensitivity (1). Although the electrocardiograph is known to be a fundamental diagnostic tool in the emergency medical setting, many hospitals in underdeveloped countries and even rural hospitals in developed countries do not have sufficient access to this piece of equipment.

The high initial price of the electrocardiogram (ECG) device, with most commercially-available hospital-grade devices costing in the thousands of dollars, is one of the barriers impeding access to this vital technology. There exists a shortage of ECG devices in underserved areas and the devices available on the market currently are not adequate to solve this problem.
A review of the current literature and discussion with academic/ industry experts also reveals that that there is no publicly accessible machine instruction code that would allow for the independent construction of an ECG device.

It is uncertain if it is possible to design a low cost (< $500USD) electrocardiograph device that performs as well or better than a gold standard hospital-grade electrocardiograph device. The aim of this research project is to give low budget health care systems affordable access to an effective, rigorously tested ECG device costing less than $500 USD and to release this device under Free/open access licensing to remove barriers to access. We will also endeavor to have this device adheres to all required international safety and performance standards and obtain Health Canada for medical use.

244. What work did you perform in the tax year to overcome the scientific or technological uncertainties described in line 242?
(Summarize the systematic investigation or search) (Maximum 700 words)

The hypothesis of this project is that a low-cost ECG device (the ‘Glia’ model) could be designed, constructed and validated to demonstrate that is functionally equivalent to a gold standard hospital-grade ECG device.

In this section, we will discuss the work that was done in this tax year on the design, construction and validation of a low-cost ECG device.

An extensive literature review of the publicly available content regarding ECG device development and validation testing was undertaken. A review of expired patents was also conducted in order to establish a starting point from which we could begin the design of our ECG device hardware and software. A review of industry standard safety and performance requirements (i.e., ISO/IEC international standards) was also conducted.

High level summary:

- extensive literature review, including review of expired patents
- discussion with industry experts

246 What scientific or technological advancements did you achieve or attempt to achieve as a result of the work described in line 244? (Maximum 350 words)

The advancement made by this project (in the applicable tax year) was the understanding of the safety and performance requirements of an ECG device. Reviewing the literature allowed for a thorough understanding the design elements that will need to be incorporated into the ECG device prototype.